## Common
Date | Time | Operator | Info1 | Info2 | Info3
18.09.2024 | 11:30
Name | Coil system type | Port | Magnetic length [m] | Primary windings | Secondary windings | Maximum current [A] | Resistance N1 [Ohm] | Resistance N2 [Ohm] | Regulator on | Attenuation | P | I | Offset sensitivity | Offset reference value high | Reverse polarity | Offset P | Offset I | Start value | JSet P | HSet P | Field Coil Windings | Field Coil Cross section [mm²] | Field Coil Use | Digital Regulator on | P_U2 | I_U2 | P_J | I_J | Threshold | Max. No. of HH | Threshold Frequency | Airflux value [mVs/A] | Use mu0 air flux compensation
BST-SA 48_4 DC | Ring | 2 | 0.5022 | 48 | 4 | 40 | 0.8 | 0.3 | 1 | 17 | 100 | 800 | 1500 | 0 | 1 | 1 | 0.01 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0.003 | 0.006 | 0.004 | 0.006 | 0.001 | 35 | 53000 | 0.0591 | 0
Name | Type | Grade | Direction | Weight [g] | Density [g/dm³] | Cross section [mm²] | Length [mm] | Width [mm] | Thickness [mm] | Number | OD [mm] | ID [mm] | Height [mm] | Stacking factor | Ve [mm³]
BMT4680_LAM#2 | Ring |  |  | 0 | 7600 | 1542.491 | 0 | 0 | 0 | 1 | 170 | 150.5 | 165 | 0.96 | 774634.1704
Skript wurde bereits ausgeführt | 1

## Results
Measurement | Coil system | Sample | Direction | Signal form | Nominal | Frequency [Hz] | Jmax [T] | Hmax [A/m] | Ps [W/kg] | Ss [VA/kg] | Jr [T] | Hc [A/m] | Jeff [T] | Heff [A/m] | Bmax [T] | µr | Imax [A] | Umax [V] | Ieff [A] | Ueff [V] | Offset [%] | FF | FFnominal | H DC [A/m] | L [mH] | Phi [°] | Power [W] | Pe [W/kg] | Ph [W/kg] | µdiff | Speed [mT/s] | Points | E [mJ/kg] | µMax | Uflux [V] | Tension [MPa] | Booster | Status | Regulator (State¦Reverse Pol.¦Att,Cap¦P¦I¦OEK¦ORW) | Corr.
1 | BST-SA 48_4 DC | BMT4680_LAM#2 |  | DCK(Speed: 50 Sampling: 500) | 3800.0 |  | 1.6229 | 3807.5184 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6277 | 340.1872 | 39.8359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315.0948 | 0 | 50 | 0 | 2933.1557 | 0.010013 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.004¦0.006¦0.001¦35¦53000 | 1

## DataPoints
Measurement | No. | Field strength [A/m] | Polarisation [T] | Current [A] | Voltage [V] | Uf [V] | Frequency Spectrum | Power Spectrum U2 | Phase Spectrum U2 | Power Spectrum B | Phase Spectrum B | Power Spectrum H | Phase Spectrum H | Generator | Regulator Output | Primary Voltage
3800.0A/m/0Hz | 1 | 0 | 0 | 0 | 0 | 0.010281 | 0 | 0.010046 | 2.5779e-14 | 1.6283 | 2.5329e-14 | 1091.1654 | 2.8092e-14 | 4.0322 | 0 | 0
3800.0A/m/0Hz | 2 | 22.3526 | 0.03532 | 0.23386 | 0.00021792 | 0.010982 | 0 | 0.0032217 | 93.0175 | 0.52218 | 93.0175 | 644.3351 | 41.9258 | 4.0324 | 0 | 0
3800.0A/m/0Hz | 3 | 32.0739 | 0.063793 | 0.33557 | 0.00039359 | 0.0096969 | 0 | 0.0016249 | 97.6412 | 0.26336 | 97.6412 | 502.6186 | 57.0395 | 3.4308 | 0 | 0
3800.0A/m/0Hz | 4 | 42.2246 | 0.10361 | 0.44177 | 0.00063926 | 0.013436 | 0 | 0.0010873 | 101.2379 | 0.17624 | 101.2379 | 405.2403 | 71.0588 | 2.8396 | 0 | 0
3800.0A/m/0Hz | 5 | 50.8866 | 0.14321 | 0.5324 | 0.00088359 | 0.010164 | 0 | 0.00082906 | 104.7258 | 0.13437 | 104.7258 | 330.4181 | 82.8836 | 2.331 | 0 | 0
3800.0A/m/0Hz | 6 | 57.4577 | 0.17469 | 0.60115 | 0.0010778 | 0.012034 | 0 | 0.00066431 | 108.292 | 0.10767 | 108.292 | 271.4529 | 92.3065 | 1.8984 | 0 | 0
3800.0A/m/0Hz | 7 | 64.9996 | 0.21078 | 0.68005 | 0.0013005 | 0.010047 | 0 | 0.00055941 | 110.9518 | 0.090669 | 110.9518 | 227.723 | 99.4974 | 1.5449 | 0 | 0
3800.0A/m/0Hz | 8 | 71.8204 | 0.24336 | 0.75142 | 0.0015015 | 0.0096969 | 0 | 0.00048244 | 114.8586 | 0.078194 | 114.8586 | 195.4787 | 105.4069 | 1.2649 | 0 | 0
3800.0A/m/0Hz | 9 | 78.5969 | 0.27407 | 0.82231 | 0.001691 | 0.0084118 | 0 | 0.0004215 | 117.9648 | 0.068316 | 117.9648 | 171.8537 | 110.2886 | 1.0499 | 0 | 0
3800.0A/m/0Hz | 10 | 86.2087 | 0.30707 | 0.90195 | 0.0018945 | 0.013085 | 0 | 0.0003847 | 121.6281 | 0.062353 | 121.6281 | 154.9325 | 114.9738 | 0.89406 | 0 | 0
3800.0A/m/0Hz | 11 | 92.6492 | 0.33483 | 0.96934 | 0.0020659 | 0.010982 | 0 | 0.00034516 | 125.6465 | 0.055943 | 125.6465 | 140.7872 | 119.5816 | 0.77965 | 0 | 0
3800.0A/m/0Hz | 12 | 100.0604 | 0.3655 | 1.0469 | 0.0022551 | 0.012267 | 0 | 0.00032076 | 128.001 | 0.051988 | 128.001 | 130.0165 | 123.7931 | 0.69511 | 0 | 0
3800.0A/m/0Hz | 13 | 108.4376 | 0.3988 | 1.1345 | 0.0024605 | 0.01215 | 0 | 0.00029635 | 132.7696 | 0.048033 | 132.7696 | 120.6495 | 128.3448 | 0.62958 | 0 | 0
3800.0A/m/0Hz | 14 | 116.6095 | 0.42967 | 1.22 | 0.0026509 | 0.010982 | 0 | 0.00027476 | 135.3851 | 0.044533 | 135.3851 | 112.7784 | 132.2789 | 0.57648 | 0 | 0
3800.0A/m/0Hz | 15 | 125.3671 | 0.46153 | 1.3116 | 0.0028475 | 0.012267 | 0 | 0.00026544 | 139.9562 | 0.043023 | 139.9562 | 106.819 | 136.5199 | 0.5331 | 0 | 0
3800.0A/m/0Hz | 16 | 133.6581 | 0.49143 | 1.3984 | 0.003032 | 0.010748 | 0 | 0.00024649 | 143.1264 | 0.039951 | 143.1264 | 100.9422 | 140.3877 | 0.49698 | 0 | 0
3800.0A/m/0Hz | 17 | 143.5101 | 0.52511 | 1.5015 | 0.0032398 | 0.010632 | 0 | 0.00024061 | 146.2833 | 0.038998 | 146.2833 | 96.8966 | 144.1964 | 0.46538 | 0 | 0
3800.0A/m/0Hz | 18 | 152.2817 | 0.55459 | 1.5932 | 0.0034217 | 0.0085286 | 0 | 0.0002271 | 151.1449 | 0.036809 | 151.1449 | 92.8361 | 148.2349 | 0.43768 | 0 | 0
3800.0A/m/0Hz | 19 | 162.1314 | 0.58679 | 1.6963 | 0.0036204 | 0.0118 | 0 | 0.00022386 | 153.6601 | 0.036284 | 153.6601 | 90.0187 | 151.8621 | 0.41324 | 0 | 0
3800.0A/m/0Hz | 20 | 171.9601 | 0.61821 | 1.7991 | 0.0038142 | 0.012034 | 0 | 0.00021801 | 158.3385 | 0.035335 | 158.3385 | 87.3986 | 155.9054 | 0.39018 | 0 | 0
3800.0A/m/0Hz | 21 | 182.1365 | 0.64926 | 1.9056 | 0.0040058 | 0.012384 | 0 | 0.00021288 | 160.87 | 0.034504 | 160.87 | 85.1953 | 159.4714 | 0.37122 | 0 | 0
3800.0A/m/0Hz | 22 | 193.1669 | 0.68196 | 2.021 | 0.0042075 | 0.012034 | 0 | 0.00021106 | 164.1785 | 0.034209 | 164.1785 | 83.7477 | 163.22 | 0.34822 | 0 | 0
3800.0A/m/0Hz | 23 | 204.1297 | 0.71346 | 2.1357 | 0.0044019 | 0.011917 | 0 | 0.00020418 | 167.5603 | 0.033094 | 167.5603 | 82.181 | 166.9647 | 0.3293 | 0 | 0
3800.0A/m/0Hz | 24 | 215.6151 | 0.74534 | 2.2559 | 0.0045986 | 0.010982 | 0 | 0.00020278 | 171.4232 | 0.032867 | 171.4232 | 81.281 | 170.6904 | 0.31794 | 0 | 0
3800.0A/m/0Hz | 25 | 227.1893 | 0.77672 | 2.377 | 0.0047922 | 0.010748 | 0 | 0.00020292 | 174.5437 | 0.032889 | 174.5437 | 80.8198 | 174.3762 | 0.30368 | 0 | 0
3800.0A/m/0Hz | 26 | 239.6082 | 0.80906 | 2.5069 | 0.0049917 | 0.010164 | 0 | 0.00019992 | 178.4436 | 0.032404 | 178.4436 | 80.3479 | 178.1869 | 0.28695 | 0 | 0
3800.0A/m/0Hz | 27 | 251.4343 | 0.83839 | 2.6306 | 0.0051727 | 0.01215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2744 | 0 | 0
3800.0A/m/0Hz | 28 | 267.0244 | 0.87495 | 2.7937 | 0.0053983 | 0.0087623 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26128 | 0 | 0
3800.0A/m/0Hz | 29 | 280.519 | 0.90533 | 2.9349 | 0.0055857 | 0.0089959 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.24797 | 0 | 0
3800.0A/m/0Hz | 30 | 291.1784 | 0.92873 | 3.0464 | 0.0057301 | 0.0085286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23571 | 0 | 0
3800.0A/m/0Hz | 31 | 309.3564 | 0.96511 | 3.2366 | 0.0059545 | 0.011216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2239 | 0 | 0
3800.0A/m/0Hz | 32 | 330.8946 | 1.0053 | 3.462 | 0.0062023 | 0.0086455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21188 | 0 | 0
3800.0A/m/0Hz | 33 | 348.7155 | 1.0359 | 3.6484 | 0.0063915 | 0.0088791 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2008 | 0 | 0
3800.0A/m/0Hz | 34 | 370.3003 | 1.0698 | 3.8742 | 0.0066003 | 0.010398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1902 | 0 | 0
3800.0A/m/0Hz | 35 | 392.3052 | 1.1012 | 4.1045 | 0.0067942 | 0.0094633 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17961 | 0 | 0
3800.0A/m/0Hz | 36 | 418.7461 | 1.1346 | 4.3811 | 0.0070002 | 0.013085 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17 | 0 | 0
3800.0A/m/0Hz | 37 | 447.8728 | 1.1671 | 4.6858 | 0.007201 | 0.011333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15986 | 0 | 0
3800.0A/m/0Hz | 38 | 481.8065 | 1.2003 | 5.0409 | 0.0074058 | 0.010047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15038 | 0 | 0
3800.0A/m/0Hz | 39 | 522.3673 | 1.2333 | 5.4652 | 0.0076093 | 0.010748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14077 | 0 | 0
3800.0A/m/0Hz | 40 | 570.9811 | 1.2663 | 5.9739 | 0.0078127 | 0.010398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13242 | 0 | 0
3800.0A/m/0Hz | 41 | 631.6824 | 1.2987 | 6.6089 | 0.0080126 | 0.010047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12243 | 0 | 0
3800.0A/m/0Hz | 42 | 711.691 | 1.3321 | 7.446 | 0.0082188 | 0.0099306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11419 | 0 | 0
3800.0A/m/0Hz | 43 | 819.8066 | 1.3654 | 8.5772 | 0.0084242 | 0.0096969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1069 | 0 | 0
3800.0A/m/0Hz | 44 | 969.6264 | 1.3987 | 10.1447 | 0.0086299 | 0.010515 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.098677 | 0 | 0
3800.0A/m/0Hz | 45 | 1175.6649 | 1.432 | 12.3003 | 0.0088352 | 0.010164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.091362 | 0 | 0
3800.0A/m/0Hz | 46 | 1445.3168 | 1.4648 | 15.1215 | 0.0090374 | 0.010982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.083628 | 0 | 0
3800.0A/m/0Hz | 47 | 1783.6902 | 1.4972 | 18.6617 | 0.0092375 | 0.010398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.075459 | 0 | 0
3800.0A/m/0Hz | 48 | 2194.4324 | 1.5293 | 22.9591 | 0.0094352 | 0.012034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.068325 | 0 | 0
3800.0A/m/0Hz | 49 | 2684.4132 | 1.5618 | 28.0855 | 0.009636 | 0.011099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.058823 | 0 | 0
3800.0A/m/0Hz | 50 | 3242.2427 | 1.594 | 33.9218 | 0.0098344 | 0.010982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.047808 | 0 | 0
3800.0A/m/0Hz | 51 | 3807.5184 | 1.6229 | 39.8359 | 0.010013 | 0.011099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.036807 | 0 | 0

## DebugInfos (hidden)
Nr. | Shunt value | Buf. Amp. prim. | Buf. Amp. sec. | Flux range | PGA Current | PGA Voltage | PGA Field | PGA Mux | MDAC Current | MDAC Voltage | MDAC Field | MDAC Mux | Field Coil Att. | GainSIOS | SWVT | Gen count
1 | 0.1 | 12.0885 | 1.0001 | 0.04 | 2 | 1 | 1 | -9999 | 1 | 1 | 1 | 0 | 11.9634 | 0 | 3583 | 100