## Common
Date | Time | Operator | Info1 | Info2 | Info3
18.09.2024 | 11:39
Name | Coil system type | Port | Magnetic length [m] | Primary windings | Secondary windings | Maximum current [A] | Resistance N1 [Ohm] | Resistance N2 [Ohm] | Regulator on | Attenuation | P | I | Offset sensitivity | Offset reference value high | Reverse polarity | Offset P | Offset I | Start value | JSet P | HSet P | Field Coil Windings | Field Coil Cross section [mm²] | Field Coil Use | Digital Regulator on | P_U2 | I_U2 | P_J | I_J | Threshold | Max. No. of HH | Threshold Frequency | Airflux value [mVs/A] | Use mu0 air flux compensation
BST-SA 48_4 DC | Ring | 2 | 0.5022 | 48 | 4 | 40 | 0.8 | 0.3 | 1 | 17 | 100 | 800 | 1500 | 0 | 1 | 1 | 0.01 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0.003 | 0.006 | 0.004 | 0.006 | 0.001 | 35 | 53000 | 0.0591 | 0
Name | Type | Grade | Direction | Weight [g] | Density [g/dm³] | Cross section [mm²] | Length [mm] | Width [mm] | Thickness [mm] | Number | OD [mm] | ID [mm] | Height [mm] | Stacking factor | Ve [mm³]
BMT4681_LAM#3 | Ring |  |  | 0 | 7600 | 1542.491 | 0 | 0 | 0 | 1 | 170 | 150.5 | 165 | 0.96 | 774634.1704
Skript wurde bereits ausgeführt | 1

## Results
Measurement | Coil system | Sample | Direction | Signal form | Nominal | Frequency [Hz] | Jmax [T] | Hmax [A/m] | Ps [W/kg] | Ss [VA/kg] | Jr [T] | Hc [A/m] | Jeff [T] | Heff [A/m] | Bmax [T] | µr | Imax [A] | Umax [V] | Ieff [A] | Ueff [V] | Offset [%] | FF | FFnominal | H DC [A/m] | L [mH] | Phi [°] | Power [W] | Pe [W/kg] | Ph [W/kg] | µdiff | Speed [mT/s] | Points | E [mJ/kg] | µMax | Uflux [V] | Tension [MPa] | Booster | Status | Regulator (State¦Reverse Pol.¦Att,Cap¦P¦I¦OEK¦ORW) | Corr.
1 | BST-SA 48_4 DC | BMT4681_LAM#3 |  | DCK(Speed: 50 Sampling: 500) | 3800.0 |  | 1.6253 | 3796.6933 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6301 | 341.6577 | 39.7227 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 311.0372 | 0 | 50 | 0 | 3302.2316 | 0.010028 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.004¦0.006¦0.001¦35¦53000 | 1

## DataPoints
Measurement | No. | Field strength [A/m] | Polarisation [T] | Current [A] | Voltage [V] | Uf [V] | Frequency Spectrum | Power Spectrum U2 | Phase Spectrum U2 | Power Spectrum B | Phase Spectrum B | Power Spectrum H | Phase Spectrum H | Generator | Regulator Output | Primary Voltage
3800.0A/m/0Hz | 1 | 0 | 0 | 0 | 0 | 0.013552 | 0 | 0.010202 | 2.114e-14 | 1.6536 | 2.5881e-14 | 1071.2042 | 2.9251e-14 | 4.0366 | 0 | 0
3800.0A/m/0Hz | 2 | 23.3 | 0.042937 | 0.24377 | 0.00026491 | 0.012501 | 0 | 0.0031733 | 92.6474 | 0.51433 | 92.6474 | 650.8777 | 41.2324 | -4.0082 | 0 | 0
3800.0A/m/0Hz | 3 | 37.476 | 0.098453 | 0.39209 | 0.00060743 | 0.0093464 | 0 | 0.0015745 | 98.1705 | 0.25519 | 98.1705 | 503.0521 | 57.2185 | -4.0084 | 0 | 0
3800.0A/m/0Hz | 4 | 46.1216 | 0.14248 | 0.48254 | 0.00087904 | 0.012501 | 0 | 0.0010744 | 102.2006 | 0.17413 | 102.2006 | 403.3885 | 71.6031 | -3.4045 | 0 | 0
3800.0A/m/0Hz | 5 | 52.4687 | 0.17744 | 0.54895 | 0.0010948 | 0.011566 | 0 | 0.00081055 | 105.7199 | 0.13137 | 105.7199 | 325.8651 | 83.2359 | -2.8276 | 0 | 0
3800.0A/m/0Hz | 6 | 58.5218 | 0.21105 | 0.61228 | 0.0013021 | 0.0118 | 0 | 0.0006597 | 109.2861 | 0.10693 | 109.2861 | 267.5016 | 92.3287 | -2.3239 | 0 | 0
3800.0A/m/0Hz | 7 | 63.7885 | 0.24035 | 0.66738 | 0.0014829 | 0.0096969 | 0 | 0.00055582 | 112.3248 | 0.090088 | 112.3248 | 224.6968 | 99.2902 | -1.8964 | 0 | 0
3800.0A/m/0Hz | 8 | 70.1519 | 0.27269 | 0.73396 | 0.0016824 | 0.011566 | 0 | 0.00048141 | 116.171 | 0.078027 | 116.171 | 193.7387 | 105.0307 | -1.5434 | 0 | 0
3800.0A/m/0Hz | 9 | 75.554 | 0.3008 | 0.79048 | 0.0018559 | 0.0071267 | 0 | 0.00043139 | 119.3157 | 0.069919 | 119.3157 | 171.5291 | 110.0514 | -1.2603 | 0 | 0
3800.0A/m/0Hz | 10 | 81.9641 | 0.33225 | 0.85754 | 0.0020499 | 0.012384 | 0 | 0.00038564 | 122.3391 | 0.062504 | 122.3391 | 154.2795 | 114.7761 | -1.0417 | 0 | 0
3800.0A/m/0Hz | 11 | 88.2739 | 0.3618 | 0.92356 | 0.0022323 | 0.010164 | 0 | 0.00035288 | 126.1468 | 0.057194 | 126.1468 | 140.7297 | 119.4587 | -0.87779 | 0 | 0
3800.0A/m/0Hz | 12 | 94.7633 | 0.39094 | 0.99146 | 0.002412 | 0.011566 | 0 | 0.00032356 | 128.7565 | 0.052443 | 128.7565 | 129.5315 | 123.77 | -0.75533 | 0 | 0
3800.0A/m/0Hz | 13 | 100.8864 | 0.41798 | 1.0555 | 0.0025788 | 0.010398 | 0 | 0.00029971 | 133.208 | 0.048577 | 133.208 | 120.2505 | 128.1584 | -0.66493 | 0 | 0
3800.0A/m/0Hz | 14 | 107.3992 | 0.44554 | 1.1237 | 0.0027489 | 0.012735 | 0 | 0.00028647 | 135.8246 | 0.046431 | 135.8246 | 112.9483 | 132.1683 | -0.59496 | 0 | 0
3800.0A/m/0Hz | 15 | 115.7555 | 0.47915 | 1.2111 | 0.0029563 | 0.010865 | 0 | 0.00026435 | 138.8173 | 0.042846 | 138.8173 | 106.3474 | 136.1531 | -0.53978 | 0 | 0
3800.0A/m/0Hz | 16 | 123.036 | 0.50757 | 1.2873 | 0.0031316 | 0.010281 | 0 | 0.00025281 | 143.4538 | 0.040975 | 143.4538 | 101.1035 | 140.2569 | -0.49385 | 0 | 0
3800.0A/m/0Hz | 17 | 130.1321 | 0.5347 | 1.3615 | 0.003299 | 0.012267 | 0 | 0.00024269 | 146.062 | 0.039335 | 146.062 | 96.7297 | 144.029 | -0.45641 | 0 | 0
3800.0A/m/0Hz | 18 | 139.2444 | 0.56785 | 1.4568 | 0.0035035 | 0.008295 | 0 | 0.00023219 | 150.0513 | 0.037633 | 150.0513 | 92.9173 | 147.9222 | -0.42483 | 0 | 0
3800.0A/m/0Hz | 19 | 147.9624 | 0.5981 | 1.548 | 0.0036901 | 0.012267 | 0 | 0.0002244 | 152.7766 | 0.036371 | 152.7766 | 89.9345 | 151.5815 | -0.396 | 0 | 0
3800.0A/m/0Hz | 20 | 156.3676 | 0.62729 | 1.636 | 0.0038702 | 0.0087623 | 0 | 0.00021732 | 157.4109 | 0.035223 | 157.4109 | 87.4159 | 155.5481 | -0.37184 | 0 | 0
3800.0A/m/0Hz | 21 | 163.8908 | 0.65202 | 1.7147 | 0.0040228 | 0.010164 | 0 | 0.00021391 | 159.7973 | 0.034671 | 159.7973 | 85.4806 | 159.2053 | -0.34912 | 0 | 0
3800.0A/m/0Hz | 22 | 174.3846 | 0.68547 | 1.8245 | 0.0042292 | 0.012034 | 0 | 0.00020743 | 163.8384 | 0.033621 | 163.8384 | 83.7241 | 163.1867 | -0.32794 | 0 | 0
3800.0A/m/0Hz | 23 | 186.5328 | 0.72238 | 1.9516 | 0.0044569 | 0.011683 | 0 | 0.00020267 | 167.721 | 0.032848 | 167.721 | 82.1601 | 166.9889 | -0.30996 | 0 | 0
3800.0A/m/0Hz | 24 | 197.0102 | 0.75274 | 2.0612 | 0.0046443 | 0.010982 | 0 | 0.00020285 | 171.2662 | 0.032878 | 171.2662 | 81.2772 | 170.692 | -0.29175 | 0 | 0
3800.0A/m/0Hz | 25 | 207.7513 | 0.78306 | 2.1736 | 0.0048313 | 0.010281 | 0 | 0.00020053 | 174.837 | 0.032502 | 174.837 | 80.6054 | 174.4245 | -0.27621 | 0 | 0
3800.0A/m/0Hz | 26 | 220.7348 | 0.81825 | 2.3094 | 0.0050484 | 0.0118 | 0 | 0.00020093 | 178.5267 | 0.032567 | 178.5267 | 80.3437 | 178.1651 | -0.26054 | 0 | 0
3800.0A/m/0Hz | 27 | 232.673 | 0.84901 | 2.4343 | 0.0052382 | 0.010982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.24597 | 0 | 0
3800.0A/m/0Hz | 28 | 246.4733 | 0.88235 | 2.5787 | 0.0054439 | 0.010164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.23408 | 0 | 0
3800.0A/m/0Hz | 29 | 261.2677 | 0.91607 | 2.7335 | 0.005652 | 0.010632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2195 | 0 | 0
3800.0A/m/0Hz | 30 | 275.166 | 0.94638 | 2.8789 | 0.0058389 | 0.010632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.20884 | 0 | 0
3800.0A/m/0Hz | 31 | 292.3475 | 0.98055 | 3.0587 | 0.0060498 | 0.0099306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.19688 | 0 | 0
3800.0A/m/0Hz | 32 | 309.6107 | 1.0126 | 3.2393 | 0.0062478 | 0.010632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1837 | 0 | 0
3800.0A/m/0Hz | 33 | 328.4607 | 1.0451 | 3.4365 | 0.0064483 | 0.011566 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.17205 | 0 | 0
3800.0A/m/0Hz | 34 | 349.6676 | 1.078 | 3.6584 | 0.0066513 | 0.010164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1639 | 0 | 0
3800.0A/m/0Hz | 35 | 372.1975 | 1.1096 | 3.8941 | 0.0068459 | 0.011566 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.15425 | 0 | 0
3800.0A/m/0Hz | 36 | 398.8833 | 1.1428 | 4.1733 | 0.0070509 | 0.01215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.14471 | 0 | 0
3800.0A/m/0Hz | 37 | 428.3881 | 1.1748 | 4.482 | 0.0072484 | 0.0118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.13433 | 0 | 0
3800.0A/m/0Hz | 38 | 463.8759 | 1.208 | 4.8533 | 0.0074531 | 0.013903 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.12604 | 0 | 0
3800.0A/m/0Hz | 39 | 505.8625 | 1.2406 | 5.2926 | 0.0076541 | 0.012501 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.11783 | 0 | 0
3800.0A/m/0Hz | 40 | 557.4025 | 1.2734 | 5.8318 | 0.0078565 | 0.010515 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.10825 | 0 | 0
3800.0A/m/0Hz | 41 | 623.0601 | 1.3061 | 6.5187 | 0.0080584 | 0.013436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.10086 | 0 | 0
3800.0A/m/0Hz | 42 | 707.6774 | 1.3387 | 7.404 | 0.0082596 | 0.011333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.093652 | 0 | 0
3800.0A/m/0Hz | 43 | 825.0779 | 1.3721 | 8.6323 | 0.0084656 | 0.0099306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.086411 | 0 | 0
3800.0A/m/0Hz | 44 | 980.9462 | 1.4046 | 10.2631 | 0.0086661 | 0.0096969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.079419 | 0 | 0
3800.0A/m/0Hz | 45 | 1187.5914 | 1.4366 | 12.4251 | 0.0088633 | 0.0087623 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.072363 | 0 | 0
3800.0A/m/0Hz | 46 | 1454.6041 | 1.4686 | 15.2187 | 0.0090609 | 0.010748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.065947 | 0 | 0
3800.0A/m/0Hz | 47 | 1782.1198 | 1.4999 | 18.6453 | 0.0092543 | 0.011099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.058667 | 0 | 0
3800.0A/m/0Hz | 48 | 2185.7168 | 1.5316 | 22.8679 | 0.0094495 | 0.012267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.052705 | 0 | 0
3800.0A/m/0Hz | 49 | 2666.9469 | 1.5639 | 27.9028 | 0.0096488 | 0.0099306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.046445 | 0 | 0
3800.0A/m/0Hz | 50 | 3219.5261 | 1.5959 | 33.6841 | 0.0098465 | 0.012267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.039438 | 0 | 0
3800.0A/m/0Hz | 51 | 3796.6933 | 1.6253 | 39.7227 | 0.010028 | 0.0092296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.029702 | 0 | 0
[14 empty] | -0.01374 | 0 | 0

## DebugInfos (hidden)
Nr. | Shunt value | Buf. Amp. prim. | Buf. Amp. sec. | Flux range | PGA Current | PGA Voltage | PGA Field | PGA Mux | MDAC Current | MDAC Voltage | MDAC Field | MDAC Mux | Field Coil Att. | GainSIOS | SWVT | Gen count
1 | 0.1 | 12.0885 | 1.0001 | 0.04 | 2 | 1 | 1 | -9999 | 1 | 1 | 1 | 0 | 11.9634 | 0 | 3583 | 100