## Frequency_20Hz
Measurement | Coil system | Sample | Direction | Signal form | Nominal | Frequency [Hz] | Jmax [T] | Hmax [A/m] | Ps [W/kg] | Ss [VA/kg] | Jr [T] | Hc [A/m] | Jeff [T] | Heff [A/m] | Bmax [T] | µr | Imax [A] | Umax [V] | Ieff [A] | Ueff [V] | Offset [%] | FF | FFnominal | H DC [A/m] | L [mH] | Phi [°] | Power [W] | Pe [W/kg] | Ph [W/kg] | µdiff | Speed [mT/s] | Points | E [mJ/kg] | µMax | Uflux [V] | Tension [MPa] | Booster | Status | Regulator (State¦Reverse Pol.¦Att,Cap¦P¦I¦OEK¦ORW) | Corr.
1 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.6 T | 20 | 1.5989 | 3451.534 | 1.1292 | 27.119 | 0.37972 | 63.4765 | 1.1301 | 1451.2627 | 1.6033 | 369.6478 | 36.1296 | 1.2447 | 15.1837 | 0.87624 | -0.11925 | 1.1102 | 1.1107 | 0.95285 | 3.2872 | 87.1308 | 0.55401 | 0.026601 | 1.1026 | 32.518 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
2 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.5 T | 20 | 1.5003 | 1856.1512 | 0.97467 | 13.9796 | 0.37822 | 63.4187 | 1.0614 | 796.5657 | 1.5026 | 644.2164 | 19.4202 | 1.1672 | 8.334 | 0.82294 | 0.0042418 | 1.1112 | 1.1107 | 0.73413 | 5.7289 | 85.4331 | 0.47817 | 0.039555 | 0.93512 | 49.2358 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
3 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.4 T | 20 | 1.3996 | 979.8501 | 0.84418 | 7.663 | 0.37582 | 62.8842 | 0.99028 | 467.9941 | 1.4008 | 1137.6505 | 10.2604 | 1.0881 | 4.8964 | 0.76781 | 0.17862 | 1.1114 | 1.1107 | 0.51938 | 10.117 | 83.2367 | 0.41415 | 0.040684 | 0.80349 | 89.1572 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
4 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.3 T | 20 | 1.3006 | 635.2217 | 0.7333 | 5.1675 | 0.37289 | 62.246 | 0.91971 | 339.8058 | 1.3014 | 1630.3717 | 6.6524 | 1.0104 | 3.5552 | 0.71309 | 0.246 | 1.1107 | 1.1107 | 0.44478 | 14.4987 | 81.554 | 0.35976 | 0.036363 | 0.69694 | 160.8409 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
5 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.2 T | 20 | 1.1979 | 478.4544 | 0.64159 | 3.8327 | 0.36901 | 61.6452 | 0.84707 | 273.6402 | 1.1985 | 1993.4415 | 5.0115 | 0.9306 | 2.8629 | 0.65677 | -0.20921 | 1.1107 | 1.1107 | 0.14284 | 17.7274 | 80.1529 | 0.31477 | 0.032607 | 0.60899 | 248.4733 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
6 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.1 T | 20 | 1.0975 | 388.5856 | 0.56176 | 2.956 | 0.36273 | 60.6392 | 0.77564 | 230.4859 | 1.0979 | 2248.4403 | 4.0732 | 0.85208 | 2.4114 | 0.60139 | -0.36872 | 1.1102 | 1.1107 | -0.18266 | 19.995 | 78.8649 | 0.2756 | 0.028515 | 0.53325 | 332.5873 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
7 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.0 T | 20 | 0.9997 | 326.9375 | 0.49163 | 2.3196 | 0.35424 | 59.2658 | 0.70698 | 198.4269 | 1.0001 | 2434.305 | 3.4259 | 0.77671 | 2.076 | 0.54815 | 0.32141 | 1.1109 | 1.1107 | 0.074428 | 21.6479 | 77.5782 | 0.2412 | 0.023052 | 0.46858 | 400.391 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
8 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.9 T | 20 | 0.89945 | 277.3507 | 0.42398 | 1.7968 | 0.34274 | 57.4519 | 0.63595 | 170.8746 | 0.89979 | 2581.6888 | 2.9028 | 0.69857 | 1.7878 | 0.49308 | 0.06597 | 1.1106 | 1.1107 | 0.1974 | 22.9586 | 76.1638 | 0.20801 | 0.018748 | 0.40523 | 467.3332 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
9 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.8 T | 20 | 0.80167 | 237.0833 | 0.36137 | 1.3896 | 0.32758 | 55.2622 | 0.5685 | 147.814 | 0.80197 | 2691.8374 | 2.4813 | 0.63013 | 1.5465 | 0.44082 | 0.076262 | 1.114 | 1.1107 | 0.30259 | 23.9381 | 74.6546 | 0.17729 | 0.014258 | 0.34711 | 509.908 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
10 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.7 T | 20 | 0.69599 | 198.6462 | 0.29448 | 1.0165 | 0.30544 | 52.1703 | 0.49232 | 124.8704 | 0.69624 | 2789.1191 | 2.092 | 0.54187 | 1.3064 | 0.38172 | -1.047 | 1.1111 | 1.1107 | -0.62012 | 24.8032 | 72.9278 | 0.14447 | 0.013306 | 0.28118 | 553.8946 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
11 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.6 T | 20 | 0.60158 | 167.8441 | 0.23722 | 0.74987 | 0.28014 | 48.8154 | 0.42557 | 106.5648 | 0.60179 | 2853.196 | 1.759 | 0.46749 | 1.1149 | 0.32996 | 0.29916 | 1.1112 | 1.1107 | 0.072939 | 25.373 | 71.2967 | 0.11638 | 0.0085732 | 0.22865 | 569.855 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
12 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.5 T | 20 | 0.50109 | 138.1941 | 0.17994 | 0.52031 | 0.24676 | 44.6837 | 0.3544 | 88.7916 | 0.50126 | 2886.4723 | 1.4482 | 0.38943 | 0.92898 | 0.27478 | 0.30156 | 1.1109 | 1.1107 | 0.11378 | 25.669 | 69.489 | 0.08828 | 0.0064848 | 0.17346 | 582.4692 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
13 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.4 T | 20 | 0.40002 | 111.1255 | 0.12667 | 0.33956 | 0.20509 | 39.7307 | 0.28286 | 72.6015 | 0.40016 | 2865.5626 | 1.1629 | 0.31091 | 0.75959 | 0.21932 | 0.057436 | 1.1108 | 1.1107 | 0.042983 | 25.483 | 67.8201 | 0.062146 | 0.0047305 | 0.12194 | 595.622 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
14 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.3 T | 20 | 0.30016 | 87.1452 | 0.079586 | 0.20407 | 0.15513 | 33.8357 | 0.21224 | 58.1506 | 0.30027 | 2741.9344 | 0.91201 | 0.23311 | 0.6084 | 0.16456 | 0.067069 | 1.1107 | 1.1107 | 0.013106 | 24.3836 | 66.8039 | 0.039045 | 0.0026497 | 0.076936 | 603.6384 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
15 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.2 T | 20 | 0.20002 | 65.4801 | 0.03991 | 0.10452 | 0.09766 | 26.17 | 0.14143 | 44.6942 | 0.2001 | 2431.7807 | 0.68513 | 0.15573 | 0.46761 | 0.10966 | -0.075896 | 1.1107 | 1.1107 | -0.029947 | 21.6255 | 67.3834 | 0.01958 | 0.0013644 | 0.038546 | 606.5374 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
16 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.1 T | 20 | 0.10003 | 46.4891 | 0.011132 | 0.037648 | 0.036784 | 15.3326 | 0.070728 | 32.1914 | 0.10008 | 1713.1913 | 0.48672 | 0.078034 | 0.3368 | 0.05484 | -0.18806 | 1.1107 | 1.1107 | -0.74708 | 15.2352 | 72.7377 | 0.0054612 | 0.00027356 | 0.010858 | 527.1068 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
17 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.05 T | 20 | 0.049976 | 32.4735 | 0.0025821 | 0.013189 | 0.011885 | 7.2274 | 0.03534 | 22.5696 | 0.050017 | 1225.6874 | 0.33991 | 0.039246 | 0.23613 | 0.027402 | 0.12412 | 1.1108 | 1.1107 | -0.34028 | 10.8999 | 78.6944 | 0.0012668 | 0.00011582 | 0.0024663 | 491.6841 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1

## Frequency_50Hz
Measurement | Coil system | Sample | Direction | Signal form | Nominal | Frequency [Hz] | Jmax [T] | Hmax [A/m] | Ps [W/kg] | Ss [VA/kg] | Jr [T] | Hc [A/m] | Jeff [T] | Heff [A/m] | Bmax [T] | µr | Imax [A] | Umax [V] | Ieff [A] | Ueff [V] | Offset [%] | FF | FFnominal | H DC [A/m] | L [mH] | Phi [°] | Power [W] | Pe [W/kg] | Ph [W/kg] | µdiff | Speed [mT/s] | Points | E [mJ/kg] | µMax | Uflux [V] | Tension [MPa] | Booster | Status | Regulator (State¦Reverse Pol.¦Att,Cap¦P¦I¦OEK¦ORW) | Corr.
18 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.6 T | 50 | 1.5996 | 3378.7581 | 2.9229 | 66.8583 | 0.39735 | 71.4266 | 1.1312 | 1429.8281 | 1.6038 | 377.7372 | 35.3548 | 3.1164 | 14.9595 | 2.1926 | 0.031961 | 1.1108 | 1.1107 | 1.2807 | 3.3592 | 86.9685 | 1.434 | 0.16625 | 2.7566 | 36.3881 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
19 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.5 T | 50 | 1.4994 | 1815.6796 | 2.585 | 34.3077 | 0.39491 | 70.5562 | 1.0605 | 782.6177 | 1.5017 | 658.1676 | 19.0113 | 2.9139 | 8.1881 | 2.0556 | 0.18135 | 1.111 | 1.1107 | 0.95202 | 5.853 | 85.0805 | 1.2682 | 0.24722 | 2.3378 | 53.39 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
20 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.4 T | 50 | 1.4008 | 979.5584 | 2.263 | 19.1632 | 0.39212 | 69.9367 | 0.99029 | 468.1298 | 1.4021 | 1139.0008 | 10.2597 | 2.7166 | 4.8978 | 1.9195 | -0.22644 | 1.1105 | 1.1107 | 0.069739 | 10.129 | 82.7787 | 1.1102 | 0.25427 | 2.0087 | 92.3187 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
21 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.3 T | 50 | 1.3004 | 632.8882 | 1.9696 | 12.9003 | 0.38837 | 69.0621 | 0.91924 | 339.4942 | 1.3011 | 1636.0271 | 6.6258 | 2.5229 | 3.5519 | 1.7818 | -0.12966 | 1.1104 | 1.1107 | 0.042831 | 14.5489 | 80.9231 | 0.9663 | 0.22727 | 1.7423 | 167.3767 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
22 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.2 T | 50 | 1.2005 | 480.7588 | 1.7263 | 9.6533 | 0.38344 | 67.8653 | 0.84866 | 275.1723 | 1.2011 | 1988.1628 | 5.0328 | 2.3296 | 2.879 | 1.645 | -0.11265 | 1.1104 | 1.1107 | 0.083514 | 17.6804 | 79.4713 | 0.84691 | 0.2038 | 1.5225 | 251.9599 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
23 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.1 T | 50 | 1.1002 | 390.4232 | 1.5113 | 7.4621 | 0.37603 | 66.5118 | 0.7778 | 232.09 | 1.1007 | 2243.5272 | 4.0893 | 2.1339 | 2.4282 | 1.5077 | 0.1931 | 1.1105 | 1.1107 | 0.086096 | 19.9514 | 78.1136 | 0.74146 | 0.17822 | 1.3331 | 334.3851 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
24 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 1.0 T | 50 | 1.0004 | 327.0105 | 1.3155 | 5.8176 | 0.36617 | 64.7138 | 0.7071 | 199.0321 | 1.0008 | 2435.3697 | 3.4247 | 1.9388 | 2.0824 | 1.3706 | -0.16319 | 1.1103 | 1.1107 | -0.087983 | 21.6574 | 76.7372 | 0.6454 | 0.14408 | 1.1715 | 408.1149 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
25 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.9 T | 50 | 0.89971 | 277.1028 | 1.1303 | 4.5071 | 0.35306 | 62.4345 | 0.63602 | 171.4301 | 0.90006 | 2584.7599 | 2.9029 | 1.7451 | 1.7936 | 1.2328 | -0.21499 | 1.1104 | 1.1107 | -0.17056 | 22.9859 | 75.2748 | 0.55451 | 0.11718 | 1.0131 | 466.3076 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
26 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.8 T | 50 | 0.80088 | 236.077 | 0.9569 | 3.4576 | 0.33646 | 59.6559 | 0.56609 | 147.7571 | 0.80118 | 2700.6247 | 2.4735 | 1.552 | 1.5459 | 1.0973 | -0.26918 | 1.1103 | 1.1107 | -0.17336 | 24.0163 | 73.715 | 0.46946 | 0.089112 | 0.86779 | 503.4808 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
27 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.7 T | 50 | 0.69948 | 199.3317 | 0.7861 | 2.5773 | 0.31416 | 56.2796 | 0.49444 | 126.0968 | 0.69973 | 2793.4766 | 2.0902 | 1.3561 | 1.3193 | 0.95841 | -0.36017 | 1.1104 | 1.1107 | -0.26308 | 24.842 | 71.9995 | 0.38566 | 0.083161 | 0.70294 | 533.7096 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
28 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.6 T | 50 | 0.59945 | 166.9326 | 0.6252 | 1.8711 | 0.28627 | 52.3102 | 0.42385 | 106.7933 | 0.59966 | 2858.6173 | 1.7484 | 1.163 | 1.1173 | 0.82157 | -0.1658 | 1.1106 | 1.1107 | -0.083113 | 25.4213 | 70.2173 | 0.30673 | 0.053582 | 0.57162 | 561.8962 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
29 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.5 T | 50 | 0.4996 | 137.3919 | 0.47417 | 1.3007 | 0.2521 | 47.7319 | 0.35317 | 89.095 | 0.49977 | 2894.6804 | 1.4394 | 0.9689 | 0.93215 | 0.68457 | -0.20692 | 1.1104 | 1.1107 | -0.080751 | 25.742 | 68.3382 | 0.23263 | 0.04053 | 0.43364 | 568.9632 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
30 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.4 T | 50 | 0.39983 | 110.6661 | 0.33442 | 0.85337 | 0.20959 | 42.2999 | 0.28259 | 73.0533 | 0.39997 | 2876.0614 | 1.1586 | 0.77631 | 0.76432 | 0.54777 | -0.11261 | 1.1102 | 1.1107 | 0.01711 | 25.5764 | 66.6547 | 0.16407 | 0.029565 | 0.30486 | 565.6621 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
31 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.3 T | 50 | 0.29985 | 86.992 | 0.2089 | 0.51435 | 0.1577 | 35.6888 | 0.21203 | 58.6833 | 0.29996 | 2743.9746 | 0.91025 | 0.58262 | 0.61397 | 0.411 | 0.0851 | 1.1108 | 1.1107 | 0.074237 | 24.4018 | 65.799 | 0.10249 | 0.016561 | 0.19234 | 589.3129 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
32 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.2 T | 50 | 0.20009 | 65.3554 | 0.10489 | 0.26348 | 0.099752 | 27.5221 | 0.14144 | 45.0634 | 0.20017 | 2437.3099 | 0.68388 | 0.38909 | 0.47147 | 0.27417 | 0.10515 | 1.1104 | 1.1107 | -0.11139 | 21.6746 | 66.3772 | 0.05146 | 0.0085272 | 0.096364 | 573.9653 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
33 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.1 T | 50 | 0.10009 | 44.1148 | 0.028855 | 0.09014 | 0.039001 | 15.7685 | 0.070751 | 30.8204 | 0.10014 | 1806.4447 | 0.46169 | 0.19517 | 0.32246 | 0.13714 | -0.11125 | 1.1104 | 1.1107 | -0.22681 | 16.0644 | 71.2683 | 0.014156 | 0.0017098 | 0.027145 | 559.1712 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
34 | BST-SA_48_4 | BMT4680_LAM#2 |  | Sin | 0.05 T | 50 | 0.05004 | 34.966 | 0.0068896 | 0.035694 | 0.011515 | 7.5907 | 0.035375 | 24.4082 | 0.050084 | 1139.843 | 0.36621 | 0.098427 | 0.25537 | 0.068573 | 0.16855 | 1.1105 | 1.1107 | -0.41439 | 10.1365 | 78.8574 | 0.0033801 | 0.00072388 | 0.0061657 | 460.8826 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1

## Frequency_200Hz
Measurement | Coil system | Sample | Direction | Signal form | Nominal | Frequency [Hz] | Jmax [T] | Hmax [A/m] | Ps [W/kg] | Ss [VA/kg] | Jr [T] | Hc [A/m] | Jeff [T] | Heff [A/m] | Bmax [T] | µr | Imax [A] | Umax [V] | Ieff [A] | Ueff [V] | Offset [%] | FF | FFnominal | H DC [A/m] | L [mH] | Phi [°] | Power [W] | Pe [W/kg] | Ph [W/kg] | µdiff | Speed [mT/s] | Points | E [mJ/kg] | µMax | Uflux [V] | Tension [MPa] | Booster | Status | Regulator (State¦Reverse Pol.¦Att,Cap¦P¦I¦OEK¦ORW) | Corr.
35 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 1.3 T | 200 | 1.299 | 622.7521 | 10.186 | 51.2978 | 0.44923 | 91.9142 | 0.91804 | 337.9368 | 1.2998 | 1660.8884 | 39.102 | 10.0504 | 21.2139 | 7.118 | -0.056583 | 1.1102 | 1.1107 | 0.061482 | 0.41028 | 78.1924 | 29.9837 | 2.5433 | 7.6427 | 160.9242 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
36 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 1.2 T | 200 | 1.1992 | 476.3008 | 8.8693 | 38.5974 | 0.43978 | 89.5709 | 0.84772 | 275.3639 | 1.1998 | 2004.5456 | 29.9044 | 9.289 | 17.2859 | 6.5728 | 0.062969 | 1.1104 | 1.1107 | 0.24607 | 0.49517 | 76.4344 | 26.1078 | 2.1123 | 6.757 | 230.9479 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
37 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 1.1 T | 200 | 1.0994 | 387.7251 | 7.7082 | 29.9738 | 0.42792 | 86.8609 | 0.77746 | 233.1656 | 1.0999 | 2257.4502 | 24.3532 | 8.5374 | 14.6369 | 6.028 | 0.10564 | 1.1108 | 1.1107 | 0.26591 | 0.55764 | 74.8519 | 22.6898 | 1.8101 | 5.8981 | 299.3552 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
38 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 1.0 T | 200 | 1.0009 | 325.6687 | 6.665 | 23.5144 | 0.41352 | 83.6432 | 0.70771 | 200.9465 | 1.0013 | 2446.6709 | 20.4525 | 7.7674 | 12.6143 | 5.4872 | -0.069776 | 1.1107 | 1.1107 | -0.01187 | 0.60439 | 73.3035 | 19.6191 | 1.504 | 5.161 | 351.5374 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
39 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.9 T | 200 | 0.89909 | 275.4013 | 5.6737 | 18.2258 | 0.39537 | 79.8804 | 0.63582 | 173.362 | 0.89944 | 2598.934 | 17.2985 | 6.9773 | 10.8827 | 4.9298 | -0.10892 | 1.1108 | 1.1107 | -0.037368 | 0.642 | 71.6343 | 16.701 | 1.2546 | 4.4191 | 401.2619 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
40 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.8 T | 200 | 0.8008 | 234.8689 | 4.7717 | 14.0531 | 0.3737 | 75.6151 | 0.56608 | 150.1396 | 0.80109 | 2714.2458 | 14.7671 | 6.2041 | 9.425 | 4.3891 | -0.24719 | 1.1104 | 1.1107 | -0.17162 | 0.67048 | 69.9222 | 14.046 | 1.0215 | 3.7502 | 435.6102 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
41 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.7 T | 200 | 0.7006 | 198.9428 | 3.9039 | 10.5732 | 0.34651 | 70.7357 | 0.49541 | 129.0768 | 0.70085 | 2803.4186 | 12.5225 | 5.4361 | 8.1027 | 3.8411 | -0.41935 | 1.1107 | 1.1107 | -0.25268 | 0.69251 | 68.082 | 11.4915 | 0.80504 | 3.0988 | 451.4012 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
42 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.6 T | 200 | 0.59948 | 166.4744 | 3.0808 | 7.6914 | 0.31335 | 65.098 | 0.42388 | 109.7397 | 0.59968 | 2866.5959 | 10.4756 | 4.6474 | 6.8889 | 3.2865 | -0.36588 | 1.1107 | 1.1107 | -0.20075 | 0.70812 | 66.1251 | 9.0688 | 0.62375 | 2.4571 | 458.0093 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
43 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.5 T | 200 | 0.50357 | 138.5879 | 2.3487 | 5.4775 | 0.2749 | 59.028 | 0.35632 | 92.9704 | 0.50374 | 2892.496 | 8.7406 | 3.913 | 5.8362 | 2.7627 | -0.7064 | 1.1115 | 1.1107 | -0.35656 | 0.71451 | 64.3395 | 6.9136 | 0.42035 | 1.9283 | 465.1599 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
44 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.4 T | 200 | 0.40012 | 111.4123 | 1.6256 | 3.5627 | 0.2254 | 51.4621 | 0.28271 | 76.2138 | 0.40026 | 2858.8824 | 7.0362 | 3.0989 | 4.7843 | 2.192 | -0.88563 | 1.1099 | 1.1107 | -0.314 | 0.70621 | 62.5996 | 4.7853 | 0.303 | 1.3227 | 439.5651 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
45 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.3 T | 200 | 0.30358 | 88.6291 | 1.0273 | 2.2021 | 0.17087 | 43.2085 | 0.21488 | 61.9761 | 0.30369 | 2726.759 | 5.587 | 2.3713 | 3.8905 | 1.6661 | -0.60891 | 1.1119 | 1.1107 | -0.27856 | 0.67357 | 62.0016 | 3.024 | 0.16457 | 0.86274 | 432.9714 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
46 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.2 T | 200 | 0.19988 | 66.2981 | 0.49463 | 1.1043 | 0.10561 | 32.1861 | 0.14153 | 47.1878 | 0.19996 | 2400.1615 | 4.1641 | 1.5601 | 2.9622 | 1.0974 | 0.081024 | 1.1123 | 1.1107 | -0.10041 | 0.5929 | 63.2636 | 1.456 | 0.083031 | 0.4116 | 396.835 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
47 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.1 T | 200 | 0.099776 | 43.7968 | 0.13216 | 0.36378 | 0.04203 | 17.7585 | 0.070524 | 31.1964 | 0.099831 | 1813.9077 | 2.757 | 0.77188 | 1.9583 | 0.54681 | -0.41507 | 1.1103 | 1.1107 | 0.014903 | 0.44808 | 68.6411 | 0.38902 | 0.020048 | 0.11211 | 408.1493 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
48 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.05 T | 200 | 0.049539 | 28.7433 | 0.030561 | 0.11757 | 0.014828 | 8.3487 | 0.035054 | 20.2838 | 0.049574 | 1372.5027 | 1.8056 | 0.38565 | 1.2733 | 0.2718 | 0.13612 | 1.1115 | 1.1107 | 0.15506 | 0.33904 | 74.9229 | 0.08996 | 0.0052431 | 0.025318 | 415.9081 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1

## Frequency_400Hz
Measurement | Coil system | Sample | Direction | Signal form | Nominal | Frequency [Hz] | Jmax [T] | Hmax [A/m] | Ps [W/kg] | Ss [VA/kg] | Jr [T] | Hc [A/m] | Jeff [T] | Heff [A/m] | Bmax [T] | µr | Imax [A] | Umax [V] | Ieff [A] | Ueff [V] | Offset [%] | FF | FFnominal | H DC [A/m] | L [mH] | Phi [°] | Power [W] | Pe [W/kg] | Ph [W/kg] | µdiff | Speed [mT/s] | Points | E [mJ/kg] | µMax | Uflux [V] | Tension [MPa] | Booster | Status | Regulator (State¦Reverse Pol.¦Att,Cap¦P¦I¦OEK¦ORW) | Corr.
49 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 1.3 T | 400 | 1.3011 | 631.0165 | 25.4588 | 104.6854 | 0.51061 | 113.8686 | 0.92059 | 343.8666 | 1.3019 | 1641.8543 | 39.6273 | 20.2518 | 21.5861 | 14.2755 | 0.092837 | 1.1114 | 1.1107 | 0.37509 | 0.40558 | 75.4215 | 74.9407 | 10.1734 | 15.2854 | 144.9135 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
50 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 1.2 T | 400 | 1.1996 | 478.9989 | 21.9633 | 78.2566 | 0.49683 | 110.2062 | 0.84818 | 278.9992 | 1.2002 | 1993.9345 | 30.1394 | 18.6034 | 17.5141 | 13.1527 | 0.41935 | 1.1106 | 1.1107 | 0.63883 | 0.49255 | 73.3503 | 64.6514 | 8.4493 | 13.514 | 203.1327 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
51 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 1.1 T | 400 | 1.1011 | 390.5934 | 19.0365 | 61.0887 | 0.48053 | 106.3715 | 0.77888 | 237.1718 | 1.1016 | 2244.2985 | 24.5608 | 17.1201 | 14.8884 | 12.078 | 0.29858 | 1.1111 | 1.1107 | 0.48696 | 0.55439 | 71.5428 | 56.0359 | 7.2403 | 11.7962 | 256.4838 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
52 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 1.0 T | 400 | 1.0007 | 326.6288 | 16.3379 | 47.8167 | 0.46082 | 101.8744 | 0.70759 | 204.3472 | 1.0011 | 2438.9849 | 20.5112 | 15.5345 | 12.8278 | 10.9725 | 0.062231 | 1.1107 | 1.1107 | 0.17102 | 0.60249 | 69.7651 | 48.0924 | 6.0159 | 10.322 | 295.7168 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
53 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.9 T | 400 | 0.90024 | 276.8111 | 13.8564 | 37.3285 | 0.43744 | 96.7922 | 0.6366 | 177.3143 | 0.90058 | 2589.0078 | 17.4038 | 13.9736 | 11.1308 | 9.8717 | -0.25729 | 1.1108 | 1.1107 | -0.25149 | 0.63955 | 67.9639 | 40.7879 | 5.0182 | 8.8382 | 333.0311 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
54 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.8 T | 400 | 0.80088 | 235.9992 | 11.5863 | 28.8683 | 0.41044 | 91.2759 | 0.56632 | 154.1468 | 0.80117 | 2701.5234 | 14.8648 | 12.4323 | 9.6765 | 8.7818 | -0.52461 | 1.1107 | 1.1107 | -0.40071 | 0.66734 | 66.09 | 34.1054 | 4.0858 | 7.5005 | 352.5213 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
55 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.7 T | 400 | 0.70023 | 200.146 | 9.4178 | 21.8012 | 0.37738 | 84.8657 | 0.49503 | 133.1753 | 0.70047 | 2785.0865 | 12.5958 | 10.8587 | 8.36 | 7.6763 | -0.38819 | 1.1105 | 1.1107 | -0.30574 | 0.68798 | 64.1576 | 27.7224 | 3.2202 | 6.1977 | 364.5414 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
56 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.6 T | 400 | 0.60014 | 168.4129 | 7.4092 | 16.0224 | 0.33868 | 77.8222 | 0.42433 | 114.1817 | 0.60035 | 2836.7439 | 10.6442 | 9.3087 | 7.1677 | 6.58 | -1.0063 | 1.1106 | 1.1107 | -0.64648 | 0.70074 | 62.2039 | 21.8097 | 2.495 | 4.9142 | 367.1525 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
57 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.5 T | 400 | 0.49984 | 139.9369 | 5.5381 | 11.3097 | 0.29221 | 69.7293 | 0.3535 | 96.7452 | 0.50002 | 2843.4486 | 8.8421 | 7.7591 | 6.0731 | 5.4817 | -0.97405 | 1.1109 | 1.1107 | -0.56481 | 0.7024 | 60.4337 | 16.3019 | 1.6814 | 3.8567 | 374.2034 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
58 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.4 T | 400 | 0.39997 | 113.8795 | 3.8573 | 7.5145 | 0.23944 | 60.6894 | 0.28285 | 80.336 | 0.4001 | 2795.913 | 7.2087 | 6.2089 | 5.0431 | 4.3862 | -1.2033 | 1.1109 | 1.1107 | -0.5866 | 0.69066 | 58.8942 | 11.3544 | 1.212 | 2.6453 | 362.0906 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
59 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.3 T | 400 | 0.30056 | 90.4899 | 2.3838 | 4.5633 | 0.17926 | 50.1151 | 0.21249 | 64.9383 | 0.30067 | 2644.1593 | 5.7385 | 4.6619 | 4.0765 | 3.2951 | -1.4231 | 1.1105 | 1.1107 | -0.62907 | 0.65317 | 58.3274 | 7.0169 | 0.65829 | 1.7255 | 344.6996 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
60 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.2 T | 400 | 0.19965 | 68.6583 | 1.1553 | 2.3197 | 0.11178 | 37.1 | 0.1412 | 49.6811 | 0.19973 | 2314.9622 | 4.3464 | 3.1007 | 3.1187 | 2.1895 | -1.1658 | 1.1109 | 1.1107 | -0.4371 | 0.57185 | 60.0137 | 3.4008 | 0.33213 | 0.82321 | 320.2041 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
61 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.1 T | 400 | 0.099936 | 45.1702 | 0.30441 | 0.75902 | 0.044858 | 20.0867 | 0.070613 | 32.5031 | 0.099991 | 1761.5932 | 2.8495 | 1.55 | 2.0404 | 1.095 | -0.69004 | 1.1099 | 1.1107 | -0.1245 | 0.43516 | 66.3078 | 0.89607 | 0.080193 | 0.22422 | 313.5519 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
62 | BST-SA_8_4 | BMT4680_LAM#2 |  | Sin | 0.05 T | 400 | 0.050029 | 29.1578 | 0.071608 | 0.24323 | 0.016477 | 9.5315 | 0.035381 | 20.7887 | 0.050065 | 1366.3891 | 1.8413 | 0.77873 | 1.305 | 0.54864 | 0.83437 | 1.1109 | 1.1107 | 0.20153 | 0.33753 | 72.8633 | 0.21079 | 0.020973 | 0.050636 | 332.8023 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1

## Frequency_1000Hz
Measurement | Coil system | Sample | Direction | Signal form | Nominal | Frequency [Hz] | Jmax [T] | Hmax [A/m] | Ps [W/kg] | Ss [VA/kg] | Jr [T] | Hc [A/m] | Jeff [T] | Heff [A/m] | Bmax [T] | µr | Imax [A] | Umax [V] | Ieff [A] | Ueff [V] | Offset [%] | FF | FFnominal | H DC [A/m] | L [mH] | Phi [°] | Power [W] | Pe [W/kg] | Ph [W/kg] | µdiff | Speed [mT/s] | Points | E [mJ/kg] | µMax | Uflux [V] | Tension [MPa] | Booster | Status | Regulator (State¦Reverse Pol.¦Att,Cap¦P¦I¦OEK¦ORW) | Corr.
63 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 1.1 T | 1000 | 1.0992 | 387.7251 | 67.8153 | 157.2799 | 0.59331 | 148.3985 | 0.77725 | 244.7609 | 1.0996 | 2256.9652 | 49.1517 | 42.6257 | 30.7295 | 30.132 | 1.5396 | 1.1107 | 1.1107 | 2.0175 | 0.13938 | 64.1151 | 399.2435 | 29.3183 | 38.497 | 207.8416 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
64 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 1.0 T | 1000 | 0.9996 | 327.0542 | 57.954 | 124.9898 | 0.56029 | 141.3227 | 0.7069 | 213.8705 | 1 | 2433.1924 | 41.4797 | 38.7676 | 26.8513 | 27.4044 | 1.5749 | 1.1108 | 1.1107 | 1.9192 | 0.15026 | 62.0966 | 341.1878 | 23.3797 | 34.5742 | 233.4909 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
65 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.9 T | 1000 | 0.90046 | 280.1169 | 48.9531 | 99.1155 | 0.52379 | 133.6733 | 0.63665 | 188.3088 | 0.90079 | 2559.0777 | 35.5074 | 34.9147 | 23.642 | 24.6813 | 1.453 | 1.1106 | 1.1107 | 1.7154 | 0.15804 | 60.1602 | 288.1974 | 19.1981 | 29.7549 | 246.6991 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
66 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.8 T | 1000 | 0.79998 | 240.6662 | 40.497 | 77.4717 | 0.48201 | 125.1551 | 0.56554 | 165.6964 | 0.80026 | 2646.1575 | 30.5239 | 31.0132 | 20.8031 | 21.9243 | 1.4826 | 1.1105 | 1.1107 | 1.6503 | 0.16342 | 58.2594 | 238.4146 | 15.5282 | 24.9688 | 259.819 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
67 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.7 T | 1000 | 0.70033 | 207.0493 | 32.7459 | 59.5812 | 0.43562 | 115.8642 | 0.49529 | 145.5057 | 0.70058 | 2692.6558 | 26.227 | 27.1821 | 18.2681 | 19.2011 | 1.2958 | 1.1109 | 1.1107 | 1.3224 | 0.16629 | 56.4535 | 192.7825 | 12.0851 | 20.6609 | 265.5905 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
68 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.6 T | 1000 | 0.59984 | 176.8596 | 25.4972 | 44.3495 | 0.38357 | 105.4149 | 0.42409 | 126.4926 | 0.60005 | 2699.9693 | 22.3774 | 23.2326 | 15.8811 | 16.4407 | 1.0928 | 1.1106 | 1.1107 | 1.0004 | 0.16674 | 54.7124 | 150.1076 | 9.1338 | 16.3634 | 263.0845 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
69 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.5 T | 1000 | 0.50001 | 149.672 | 18.9254 | 31.7608 | 0.32631 | 93.94 | 0.35361 | 108.6425 | 0.50019 | 2659.4684 | 18.9365 | 19.4003 | 13.64 | 13.7084 | 1.0821 | 1.1109 | 1.1107 | 0.9021 | 0.16424 | 53.2524 | 111.418 | 6.518 | 12.4074 | 254.4604 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
70 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.4 T | 1000 | 0.40084 | 124.7996 | 13.0563 | 21.4183 | 0.26375 | 80.915 | 0.28337 | 91.4252 | 0.40099 | 2556.9512 | 15.7596 | 15.5364 | 11.4784 | 10.9854 | 0.81399 | 1.1104 | 1.1107 | 0.55311 | 0.15791 | 52.2892 | 76.8655 | 4.2767 | 8.7796 | 245.8928 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
71 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.3 T | 1000 | 0.30018 | 101.0271 | 7.9129 | 13.0282 | 0.19472 | 65.7006 | 0.21223 | 74.2524 | 0.30029 | 2365.4528 | 12.7445 | 11.6398 | 9.3223 | 8.2275 | 0.54266 | 1.1106 | 1.1107 | 0.40294 | 0.14608 | 52.4858 | 46.585 | 2.5432 | 5.3697 | 233.3617 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
72 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.2 T | 1000 | 0.19969 | 76.7532 | 3.7809 | 6.5619 | 0.12204 | 47.6523 | 0.14114 | 56.2356 | 0.19978 | 2071.4083 | 9.6737 | 7.725 | 7.0603 | 5.4716 | 0.37066 | 1.1102 | 1.1107 | 0.20844 | 0.12792 | 54.7371 | 22.2592 | 1.2088 | 2.5722 | 230.7195 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
73 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.1 T | 1000 | 0.10004 | 49.1159 | 0.99054 | 2.0909 | 0.050447 | 25.3955 | 0.070822 | 35.7104 | 0.1001 | 1621.8442 | 6.2343 | 3.9036 | 4.4834 | 2.7456 | 1.5224 | 1.112 | 1.1107 | 0.43339 | 0.10016 | 61.6938 | 5.8315 | 0.31772 | 0.67282 | 193.896 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
74 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.05 T | 1000 | 0.050316 | 30.7754 | 0.23448 | 0.65051 | 0.019364 | 12.023 | 0.035569 | 22.1209 | 0.050354 | 1302.0506 | 3.8888 | 1.955 | 2.7773 | 1.3789 | 0.91604 | 1.1104 | 1.1107 | 0.083174 | 0.080409 | 68.8579 | 1.3805 | 0.082601 | 0.15188 | 229.1719 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1

## Frequency_1500Hz
Measurement | Coil system | Sample | Direction | Signal form | Nominal | Frequency [Hz] | Jmax [T] | Hmax [A/m] | Ps [W/kg] | Ss [VA/kg] | Jr [T] | Hc [A/m] | Jeff [T] | Heff [A/m] | Bmax [T] | µr | Imax [A] | Umax [V] | Ieff [A] | Ueff [V] | Offset [%] | FF | FFnominal | H DC [A/m] | L [mH] | Phi [°] | Power [W] | Pe [W/kg] | Ph [W/kg] | µdiff | Speed [mT/s] | Points | E [mJ/kg] | µMax | Uflux [V] | Tension [MPa] | Booster | Status | Regulator (State¦Reverse Pol.¦Att,Cap¦P¦I¦OEK¦ORW) | Corr.
75 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 1.1 T | 1500 | 1.0993 | 394.4826 | 123.7306 | 246.5419 | 0.66282 | 177.0301 | 0.77739 | 255.7121 | 1.0998 | 2218.5754 | 50.4151 | 63.9664 | 32.1045 | 45.2101 | 1.4251 | 1.1108 | 1.1107 | 3.6443 | 0.13701 | 59.5226 | 728.4294 | 65.9794 | 57.7513 | 172.7699 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
76 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 1.0 T | 1500 | 0.99988 | 334.7475 | 105.435 | 197.4991 | 0.61976 | 168.1428 | 0.70704 | 225.2277 | 1.0003 | 2377.965 | 42.4379 | 58.1937 | 28.2772 | 41.1187 | 1.4631 | 1.1107 | 1.1107 | 1.8833 | 0.14685 | 57.4651 | 620.7191 | 53.5685 | 51.8665 | 194.6596 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
77 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.9 T | 1500 | 0.90009 | 288.3206 | 88.602 | 157.5529 | 0.57309 | 158.5699 | 0.63642 | 199.608 | 0.90042 | 2485.2677 | 36.5755 | 52.3808 | 25.0606 | 37.0122 | 1.5108 | 1.1107 | 1.1107 | 1.9255 | 0.15348 | 55.5579 | 521.6195 | 43.9651 | 44.6369 | 209.6056 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
78 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.8 T | 1500 | 0.80055 | 250.4013 | 73.1181 | 124.3725 | 0.52241 | 148.13 | 0.56597 | 177.1853 | 0.80083 | 2545.1343 | 31.7568 | 46.5611 | 22.2455 | 32.9149 | 1.4414 | 1.1105 | 1.1107 | 1.7772 | 0.15718 | 53.7981 | 430.4622 | 35.6612 | 37.4569 | 214.66 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
79 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.7 T | 1500 | 0.70039 | 217.5257 | 58.726 | 96.133 | 0.46709 | 136.6932 | 0.49516 | 156.539 | 0.70063 | 2563.2303 | 27.6064 | 40.7501 | 19.6533 | 28.7969 | 1.5228 | 1.1105 | 1.1107 | 1.7767 | 0.15829 | 52.1732 | 345.7326 | 27.7316 | 30.9944 | 218.8095 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
80 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.6 T | 1500 | 0.60005 | 188.199 | 45.5578 | 72.159 | 0.40775 | 124.111 | 0.42429 | 137.1277 | 0.60026 | 2538.2259 | 23.8436 | 34.9171 | 17.2163 | 24.6752 | 1.2509 | 1.1107 | 1.1107 | 1.4627 | 0.15675 | 50.6946 | 268.2085 | 21.0103 | 24.5475 | 217.8807 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
81 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.5 T | 1500 | 0.50003 | 161.2179 | 33.5967 | 51.9286 | 0.34398 | 110.1129 | 0.35357 | 118.4222 | 0.5002 | 2469.1423 | 20.4044 | 29.095 | 14.8678 | 20.5622 | 1.0172 | 1.1107 | 1.1107 | 1.2046 | 0.15248 | 49.5483 | 197.7911 | 14.9838 | 18.6129 | 212.4667 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
82 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.4 T | 1500 | 0.39989 | 135.6406 | 22.9735 | 35.0483 | 0.27587 | 94.349 | 0.28274 | 99.9496 | 0.40004 | 2347.094 | 17.1573 | 23.2686 | 12.5486 | 16.4431 | 0.99791 | 1.1106 | 1.1107 | 0.99741 | 0.14495 | 48.9274 | 135.2503 | 9.8028 | 13.1707 | 204.5559 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
83 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.3 T | 1500 | 0.2996 | 110.1605 | 13.8701 | 21.3227 | 0.20366 | 76.3616 | 0.21189 | 81.138 | 0.29972 | 2165.2242 | 13.9255 | 17.4554 | 10.1868 | 12.323 | 0.89556 | 1.111 | 1.1107 | 0.72664 | 0.13372 | 49.3356 | 81.6565 | 5.8147 | 8.0554 | 197.0242 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
84 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.2 T | 1500 | 0.1997 | 83.6474 | 6.6329 | 10.7346 | 0.12833 | 55.2598 | 0.14119 | 61.303 | 0.19979 | 1900.7897 | 10.5747 | 11.6253 | 7.6965 | 8.211 | 0.79586 | 1.1106 | 1.1107 | 0.48789 | 0.11738 | 51.775 | 39.0494 | 2.7743 | 3.8586 | 175.1754 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
85 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.1 T | 1500 | 0.099886 | 52.3943 | 1.7358 | 3.3389 | 0.054101 | 29.2957 | 0.070633 | 38.1149 | 0.099946 | 1518.0952 | 6.6349 | 5.8212 | 4.7853 | 4.1078 | 1.4629 | 1.1107 | 1.1107 | 0.55758 | 0.093751 | 58.6491 | 10.219 | 0.72646 | 1.0093 | 177.9782 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
86 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.05 T | 1500 | 0.049973 | 32.1318 | 0.41437 | 1.0123 | 0.021394 | 14.0495 | 0.035332 | 23.1001 | 0.050011 | 1238.6254 | 4.0527 | 2.9204 | 2.9002 | 2.0549 | 0.67202 | 1.1106 | 1.1107 | 0.048081 | 0.076492 | 65.8261 | 2.4395 | 0.18652 | 0.22785 | 182.4951 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1

## Frequency_2000Hz
Measurement | Coil system | Sample | Direction | Signal form | Nominal | Frequency [Hz] | Jmax [T] | Hmax [A/m] | Ps [W/kg] | Ss [VA/kg] | Jr [T] | Hc [A/m] | Jeff [T] | Heff [A/m] | Bmax [T] | µr | Imax [A] | Umax [V] | Ieff [A] | Ueff [V] | Offset [%] | FF | FFnominal | H DC [A/m] | L [mH] | Phi [°] | Power [W] | Pe [W/kg] | Ph [W/kg] | µdiff | Speed [mT/s] | Points | E [mJ/kg] | µMax | Uflux [V] | Tension [MPa] | Booster | Status | Regulator (State¦Reverse Pol.¦Att,Cap¦P¦I¦OEK¦ORW) | Corr.
87 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 1.0 T | 2000 | 0.99943 | 341.0552 | 162.6674 | 276.554 | 0.66275 | 191.7529 | 0.70673 | 236.6605 | 0.99983 | 2332.9522 | 43.5213 | 77.5137 | 29.7125 | 54.7962 | 1.4534 | 1.1108 | 1.1107 | 3.4397 | 0.14407 | 53.7381 | 957.6589 | 93.519 | 69.1484 | 174.7701 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
88 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.9 T | 2000 | 0.90003 | 297.29 | 136.3024 | 222.253 | 0.60825 | 180.4808 | 0.6364 | 211.2127 | 0.90036 | 2410.1613 | 37.7566 | 69.8718 | 26.5176 | 49.3428 | 1.658 | 1.1107 | 1.1107 | 2.4136 | 0.14884 | 51.9897 | 802.4421 | 76.7925 | 59.5099 | 186.959 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
89 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.8 T | 2000 | 0.80048 | 261.2423 | 112.0504 | 176.3822 | 0.55061 | 168.1841 | 0.56599 | 188.474 | 0.80076 | 2439.3436 | 33.1972 | 62.1149 | 23.6628 | 43.8833 | 1.7226 | 1.1107 | 1.1107 | 2.5298 | 0.15064 | 50.4042 | 659.6653 | 62.1129 | 49.9375 | 192.3543 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
90 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.7 T | 2000 | 0.70027 | 229.7401 | 89.662 | 137.0223 | 0.48927 | 154.8663 | 0.49515 | 167.362 | 0.70052 | 2426.5895 | 29.1903 | 54.326 | 21.0122 | 38.3911 | 1.4722 | 1.1107 | 1.1107 | 2.4638 | 0.14986 | 48.9902 | 527.86 | 48.3403 | 41.3217 | 195.0022 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
91 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.6 T | 2000 | 0.60017 | 200.8995 | 69.2621 | 103.333 | 0.42459 | 140.2864 | 0.42435 | 147.2697 | 0.60039 | 2378.3187 | 25.5404 | 46.5818 | 18.4896 | 32.902 | 1.6573 | 1.1106 | 1.1107 | 2.4407 | 0.14688 | 47.7832 | 407.7611 | 36.5354 | 32.7267 | 190.4287 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
92 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.5 T | 2000 | 0.50015 | 173.4992 | 50.8869 | 74.6395 | 0.35653 | 124.1749 | 0.35364 | 127.6453 | 0.50033 | 2294.9785 | 22.0371 | 38.8009 | 16.0258 | 27.4196 | 1.6152 | 1.1107 | 1.1107 | 2.0617 | 0.14173 | 46.9039 | 299.5825 | 26.0722 | 24.8147 | 185.7079 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
93 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.4 T | 2000 | 0.39999 | 146.591 | 34.6661 | 50.4989 | 0.28501 | 106.1493 | 0.28286 | 107.9713 | 0.40014 | 2172.374 | 18.6054 | 31.0309 | 13.5557 | 21.9316 | 1.589 | 1.1108 | 1.1107 | 1.7156 | 0.13416 | 46.5532 | 204.0869 | 17.1069 | 17.5592 | 179.7096 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
94 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.3 T | 2000 | 0.30007 | 119.3547 | 20.9122 | 30.7746 | 0.21049 | 85.7362 | 0.21217 | 87.7233 | 0.30019 | 2001.6366 | 15.1416 | 23.2867 | 11.0136 | 16.4503 | 1.5179 | 1.1107 | 1.1107 | 1.3316 | 0.12361 | 47.1154 | 123.1147 | 10.1728 | 10.7394 | 170.6615 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
95 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.2 T | 2000 | 0.19998 | 90.4048 | 9.9795 | 15.4658 | 0.13289 | 61.8602 | 0.14143 | 66.1374 | 0.20008 | 1761.3067 | 11.4856 | 15.5145 | 8.3035 | 10.9653 | 1.7048 | 1.1109 | 1.1107 | 1.1275 | 0.10877 | 49.7591 | 58.7512 | 4.8351 | 5.1443 | 164.1498 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
96 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.1 T | 2000 | 0.0999 | 55.8192 | 2.6165 | 4.7298 | 0.056939 | 32.8347 | 0.070604 | 40.5153 | 0.099962 | 1425.2052 | 7.0826 | 7.7426 | 5.0867 | 5.4742 | 1.4667 | 1.1101 | 1.1107 | 0.59423 | 0.088015 | 56.3867 | 15.404 | 1.2709 | 1.3456 | 157.0024 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1
97 | BST-SA_4_4 | BMT4680_LAM#2 |  | Sin | 0.05 T | 2000 | 0.049927 | 33.5015 | 0.63417 | 1.4079 | 0.023253 | 15.9637 | 0.035303 | 24.1187 | 0.049966 | 1186.9477 | 4.2538 | 3.8673 | 3.0281 | 2.7372 | 1.591 | 1.1107 | 1.1107 | 0.35121 | 0.073301 | 63.2149 | 3.7335 | 0.3304 | 0.30377 | 142.6212 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Found | Dig¦Cur:False¦0.003¦0.006¦0.003¦0.006¦0.001¦32¦53000 | 1